CURRICULUM

Technical School Leaving Certificate

Electrical Engineering

(18 months program)

# Council for Technical Education and Vocational Training

Curriculum Development Division

Sanothimi, Bhaktapur

## Developed in 1997

First Revision, 2010

Second Revision, 2016

Table of Content

Introduction	2

Title	2

Aims	2

Objectives	2

Program Description	2

Course Duration	3

Entry criteria:	3

Group size	3

Medium of Instruction	3

Pattern of Attendance	3

Instructors’ Qualification	3

Teacher and Student Ratio:	3

Instructional Media and Materials	3

Teaching Learning Methodologies	3

Evaluation Details	4

Grading System	4

Certificate Awarded	4

Job Opportunity	4

Course Structure	5

Applied Math	7

Bench Work	10

Electrical Installation	14

Repair and Maintenance	18

Engineering Drawing and Computer Application	22

Electro-Technology	30

Motor Installation and Control System	36

Power Distribution System	39

Basic Electronics	43

Entrepreneurship Development	47

On the Job Training (OJT)	51

### Introduction

Nepal Government, Ministry of Education implemented the Letter grading system in SLC. The door of TSLC program is open for those who have appeared 10th grade exam and achieved any GPA and any grade in any subject. Focusing on such students the curriculum of TSLC of 29 months and 15 months have been converted into 18 months.

The world is using many electrical appliances and equipment. We cannot imagine the world without Electrical devices. Nepal is lacking to produce basic level Electrical workforce in the country, especially in the grass root level of rural and urban communities. training of this level in electrical field, called TSLC in Electrical Engineering presently becomes the one of the major responsibilities of CTEVT. In this context a well-developed curriculum is a fundamental pre-requisite for the training program.

Mostly the trained candidates are employed in the the world of work, national and international organizations working as a basic level electrical workforce and rest are employed in NGOs and INGOs, which are working in the national/international labour market and some of them work as entrepreneurs emphasizing on the preventive care and repair and maintenance of electrical devices.

### Title:

The title of the programme is TSLC in Electrical Engineering

### Aims

- To produce competent work force in electrical engineering able to provide services in different community.

### Objectives

After the completion of the training program the trainees will be able to:

  - Familiarize with basic electrical engineering

  - Install basic electric appliances.

  - Perform basic electrical functions

  - Repair and maintain electrical devices and machines.

  - Find fault in electrical system's appliances and machines.

  - Repair and maintain faults of electrical system

  - Perform simple calculation related to electrical works.

  - Familiarize  with  electrical  and  electronics  components  related  with  electrical system

  - Familiarize with basic computer and computerized drawing system

### Program Description

This course is based on the job required to perform by a basic level electrical technician as an electrical sub-overseer. This program offers 100% absolutely general electrical courses. The fundamental subjects related to electrical engineering such electrical installation, motor installation and control, power transmission and distribution, basic electronics, repair and maintenance, electro-technology, Engineering Drawing, Entrepreneurships Development and Computer Application are offered to produce  basic  level  competent  electrical  engineering work force.

The program is designed on the basis of 20% theory and 80% practical classes. The provision of On-the- Job Training (OJT) is included to establish a linkage with employers and provide hands on work experience to students and promote employability of graduates.

### Course Duration:

This course will be completed within 18 months (40 hrs/week X 39 weeks a year = 1560 hrs.) class plus 6 months (40 hrs/week X 24 weeks = 960 hrs. on the job training (OJT).

### Entry criteria:

Individuals with following criteria will be eligible for this program:

- SLC with any grade and any GPA (Since 2072 SLC).

- SLC appeared (Before 2072 SLC)

- Pass entrance examination administered by CTEVT

### Group size:

The group size will be maximum 40 (forty) in a batch.

### Medium of Instruction:

The medium of instruction will be in English and/or Nepali language.

### Pattern of Attendance:

The	students	should	have	minimum	90%	attendance	in	theory	classes	and practical/performance to be eligible for internal assessments and final examinations.

### Instructors’ Qualification:

- Instructors  should  have  bachelor  degree  in  Electrical  Engineering  or  Diploma  in Electrical Engineering with minimum 5 years practical based experiences.

- The  demonstrator  should  have  Diploma  in  Electrical  Engineering  with  minimum  2 years practical based experiences.

- Good communicative/instructional skills

### Teacher and Student Ratio:

- Overall at institutional level:  1:10

- Theory:	1:40

- Practical:	1:10

- Minimum 75% of the teachers must be fulltime

### Instructional Media and Materials:

The following instructional media  and materials are suggested for the effective instruction, demonstration and practical.

- Printed  media  materials (assignment  sheets, handouts,  information sheets, procedure sheets, performance check lists, textbooks, newspaper etc.).

- Non-projected media materials (display, photographs, flip chart, writing board etc.).

- Projected media materials (multimedia/overhead transparencies, slides etc.).

- Audio-visual materials (films, videodiscs, videotapes etc.).

- Computer-based  instructional  materials  (computer-based  training,  interactive  video etc.)

### Teaching Learning Methodologies:

The  methods  of  teaching  for  this  curricular  program  will  be  a  combination  of  several approaches such as;

- Theory: lecture, discussion, assignment, group work, question-answer.

- Practical: demonstration, observation, simulation, guided practice and self-practice.

### Evaluation Details:

- The ratio between the theory and practical tests will be as per the marks given in the course structure of this curriculum for each subject. Ratio of internal and final evaluation is as follows:

| S.N. | Particulars | Internal Assessment | Final Exam | Pass % |
| --- | --- | --- | --- | --- |
| 1. | Theory | 50% | 50% | 40% |
| 2. | Practical | 50% | 50% | 60% |

- There will be three internal assessments and one final examination in each subject. Moreover, the mode of assessment and examination includes both theory and practical or as per the nature of instruction as mentioned in the course structure.

- Every student must pass in each internal assessment to appear the final exam.

- Continuous evaluation of the students' performance is to be done by the related instructor/ trainer to ensure the proficiency over each competency under each area of a subject specified in the curriculum.

- The on-the-job training is evaluated in 500 full marks. The evaluation of the performance of the student is to be carried out by the three agencies; the concerned institute, OJT provider industry/organization and the CTEVT Office of the Controller of Examinations. The student has to score minimum 60% for successful completion of the OJT.

### Grading System:

The grading system will be as follows:

### Grading	Overall marks

Distinction	80% or above

First division	75% to below 80%

Second division	65% to below 75%

Third division	Pass aggregate to below 65%

### Certificate Awarded:

The council for technical education and vocational training will award certificate in “Technical School Leaving Certificate in Electrical Engineering” to those graduates who successfully complete the requirements as prescribed by the curriculum.

### Job Opportunity:

The graduate will be eligible for the position equivalent to Non-gazetted 2nd class/level 4 (technical) as Electrical Sub-Overseer or as prescribed by the Public Service Commission or the concerned authorities. The graduate is eligible for registration with the professional council in the grade as mentioned in the related professional council Act (if any).

### Course Structure

| S N | Subject Title | Nature | Hours / week | Total class or hrs. | Full Marks |
| --- | --- | --- | --- | --- | --- |
|  |  |  |  | Th. | Pr. | Total | Th. | Pr. | Total |
| 1 | Applied math | T | 2 | 78 | 0 | 78 | 50 | 0 | 50 |
| 2 | Bench Work | P | 2 | 0 | 78 | 78 | 0 | 50 | 50 |
| 3 | Electrical Installation (Domestic, Industrial & Commercial) | P | 9 | 0 | 351 | 351 | 0 | 220 | 220 |
| 4 | Repair & Maintenance | P | 7 | 0 | 273 | 273 | 0 | 170 | 170 |
| 5 | Engineering Drawing and Computer Application | T+P | 5 | 39 | 156 | 195 | 30 | 100 | 130 |
| 6 | Electro Technology | T | 4 | 156 | 0 | 156 | 100 | 0 | 100 |
| 7 | Motor Installation & Control System | P | 4 | 0 | 156 | 156 | 0 | 100 | 100 |
| 8 | Power Distribution System | P | 2 | 0 | 78 | 78 | 0 | 50 | 50 |
| 9 | Basic Electronics | T+P | 3 | 39 | 78 | 117 | 30 | 50 | 80 |
| 10 | Entrepreneurship Development | T | 2 | 30 | 48 | 78 | 20 | 30 | 50 |
|  | Total: |  | 40 | 390 | 1170 | 1560 | 230 | 770 | 1000 |

| On the job training | P | 6 Months | 960 | 500 |
| --- | --- | --- | --- | --- |
| Total Hours (Inhouse+OJT) |  | 18 months | 2520 | 1500 |

Subject

  - Applied Math

  - Bench Work

  - Electrical Installation (Domestic, Industrial & Commercial)

  - Repair & Maintenance

  - Engineering Drawing and Computer Application

  - Electro-Technology

  - Motor Installation & Control System

  - Power Distribution System

  - Basic Electronics

  - Entrepreneurship  Development

Applied Math

Course Nature: Theory	Class per week: 2 hrs.

Full Marks: 50	Total Class: 78 hrs.

| Description: | This course provides skill and knowledge to solve the numerical problem related to the TSLC in Electrical Engineering course. |
| --- | --- |
| Objectives: | At the end of the course the participants will be able to: Calculate and convert units. Interpret graphical representation. Calculate electrical parameters. Apply and calculate different laws related to electrical fields. Apply fundamental of AC circuits calculation. Apply the different types of electrical machines' related calculation. |

| S.N. | Skills | Contents | Time Hours |
| --- | --- | --- | --- |
| 1. | Calculate Workshop : Length Area Volume Trignometry Converion units | Units and measurement Introduction SI units Pythagorus theorem Temperature Formulae | 5 |
| 2. | Calculate work, power and energy Calculate cost per unit. | Work, power and energy Introduction Joule's law of electric heating SI units Unitary method Formulae | 4 |
| 3. | Calculate simple linear equation | Linear equation Introduction Method | 2 |
| 4. | Calculate scalar and vector quantit | Scalar and vector quantity Introduction Speed Velocity Acceleration Formulae | 2 |
| 5. | Calculate : Resistance Voltage Current Power | Fundamental of Electricity Law of resistance Ohm's law Kirchhoff's law Resistivity Resistance in series and parallel circuit Formulae | 6 |
| 6. | Calculate : Self induction Mutual induction | Electromagnetic induction Introduction Faraday's law | 5 |

|  | Induced e.m.f. Inductance | Lenz's law series/parallel inductive circuit Formulae |  |
| --- | --- | --- | --- |
| 7. | Calculate : Capitance Charge and potential difference Energy store | Capacitance Coulomb's law Charging and discharging series/parallel capacitive circuit Formulae | 4 |
| 8. | Calculate: Cycle Time period Frequency Average value Effective value/RMS | Fundamental Introduction Formulae | Y 6 |
| 9. | Calculate: resistance/capacitance/ inductance R-L, R-C and R-L-C circuit Impedance Power factor Phase angle Active/reactive and apparent power | circuit Introduction Pure resistive/capacitive/inductive circuit Effect of power factor (low/hig Series and parallel circuit Formulae | Y 7 |
| 10. | Calculate : Power Current Voltage | Poly-phase circuit Introduction Work, power, energy in delta/st connection Two watt meter method | Y 6 |
| 11. | Calculate: Input/output voltage No. of turns in primary/secondary Transformation ratio Losses and efficiency E.m.f. calculation | Transformer Introduction E.m.f. equation Transformation ratio Formulae | Y 8 |
|  | Calculate: Generator emf and terminal voltage Armature current and field current Losses and efficiency | DC generator Introduction E.m.f. equation Formulae | Y 6 |
|  | Calculate: Phase and line voltage Voltage regulation. Efficiency | Synchronous generator Introduction Formulae | Ye 5 |
|  | Calculate: Synchronous speed. Back e.m.f. Mechanical power | Synchronous motor Introduction Formulae | Ye 4 |

|  | Calculate: Synchronous speed Back e.m.f. Slip, Normal speed | Induction motor Introduction Working principle Formulae | Y 4 |
| --- | --- | --- | --- |
|  | Calculate tariff Domestic Commercial | Tariff Introduction Ratio and proportion Percentage Formulae | 4 |
|  |  | Total | 78 |

### Reference Books:

    - Electrical Technology - B.L. Thereja

    - Basic Electrical Engineering – M. L. Anwani

    - Basic Electrical Enginneering Vol. 1 & 2 – P.S. Dhogal

## Bench Work

### Course Nature: Practical	Class per Week: 2 hrs.

Full marks: 50	Total Class: 78 hrs.

| Description: | This subject provides skill and knowledge to perform basic mechanical work. Which consists of filling, measuring, marking, sawing, punching, drilling, tapping, cutting, folding, riveting, bending, gas welding etc. |
| --- | --- |
| Objectives: | At the end of the course the participants will be able to: Identify hazards Apply safety rules. Use and care mechanical tools, instrument and machines. Perform basic operation related to mechanical work, such as: measure, mark, cut. bend,. file, drill, rivet according to the specification . Perform sheet metal works. Perform gas welding. |

| S.N. | Objectives/Skills | Contents | Time Hours |
| --- | --- | --- | --- |
|  |  |  | Th. | Pr. | Total |
| 1. | Perform filling | Filling Introduction Types Tools/materials Importance & Applications Process Safety precautions | 1 | 17 | 18 |
| 2. | Perform measuring and marking | Measuring & marking Introduction Types Tools/materials Importance & Applications Process Safety precautions | 1 | 2 | 3 |
| 3. | Perform the punching | Letter/number/centre punch Introduction Types & size Tools/materials Importance & Applications Process Safety precautions | 1 | 4 | 5 |
| 4. | Perform the sawing | Sawing Introduction Types Tools/materials Importance & Applications Process Safety precautions | 1 | 5 | 6 |
| 5. | Perform the drilling | Drilling Introduction Types & Parts Tools/materials | 2 | 10 | 12 |

|  |  | Importance & Applications Process Method of selection RPM and drill bit size Safety precautions |  |  |  |
| --- | --- | --- | --- | --- | --- |
| 6. | Perform Tapping. | Thread cutting (Tapping) Introduction Types Importance and uses Procedure of tapping Applications Safety precautions | 1 | 5 | 6 |
| 7. | Perform Sheet metal work (figure cutting) | Sheet metal Introduction Tools and materials Application Safety precautions | 2 | 5 | 7 |
|  |  | Folding Introduction Types Importance and uses Methods Safety precautions | 2 | 10 | 12 |
|  |  | Riveting Introduction Importance and application Types Uses Methods | 2 | 7 | 9 |
|  |  | Total | 13 | 65 | 78 |

### Reference Book:

      - Work Shop Technology (Volume I & II) – Hajra & Chaudhary

### Required Tools and Equipments

| Bench Vice | Metal Chisel |
| --- | --- |
| Bench Cleaning Brush | Metal Scissor |
| Anvil | Micro meter |
| C- Clamp | Number punch |
| Center punch | Oil Cane |
| Chipping Hammer | Pin Punch |
| Clamp | Pipe Vice |
| Divider | Pliers |
| Draft Punch | Rivet Punch |
| Drill Machine with drill bit | Safety Gloves |
| File Brush | Safety Goggles |
| Files | Screw Driver |
| Gas Lighter | Spanner |
| Hack saw With Blade | Steel rular |
| Hammer | Taps Set |
| Hand Shield | Tongs |
| Helmet | Try square |
| Leather Apron | Varnier caliper |
| Letter punch | V-block |
| Mallet | Welding Machine |
| Marking scriber | Wire Brush |

### Material List

| G I pipe | MS black sheet |
| --- | --- |
| MS flat | PVC pipe |
| Rivet | Sheet metal |
| Steel strip | U channel |
| V channel | Welding rod |
| Welding sas |  |

### Safety Rules

Work shop safety rules

- Keep the work shop neat and clean.

- Wear workshop/lab apron.

- Wear covered footwear, never use rubber chappals.

- Don’t run, sought, smoke inside the workshop.

- Never place sharp materials such as scribers and scraps on the floor.

- Place heated work piece under the board.

- Store the inflammable materials such as oil, grease etc, away from the working place.

### Hand tools Safety Rules

- The right tools should be used and handled carefully.

- Place the tools in the proper place in a perfect manner.

- Never use files, screw drivers, scrapers etc. without handle.

- Check up hammer, see it is well wedged or not, don’t use a cracked handle.

- Remove oil substances on the face of the hammer and no top of the chisel while working.

- Wear goggles and place chipping screen while chipping.

- Don’t use mushroom head chisels.

- Never store more tools in the working place than required.

### Machine Safety Rules

- Don’t start any machine before getting instruction or permission.

- Never operate a new machine unless you know thoroughly of its mechanism and working conditions.

- Ensure that metal body of electrical machine is earthed.

## Electrical Installation

### Course Nature: Practical	Class  per week: 9  hrs.

Full mark:	220	Total Class:	351

| Subject 3: Electrical Installation |
| --- |
| Description: | This subject provides skill and knowledge related to electrical installation. It also covers classification of wiring, selection of materials, simple design and installation of domestic, industrial and commercial building. |
| Objectives: | At the end of the course the participants will be able to: Select electrical tools, equipment, materials, accessories, fitting and safety device as per drawing. Install panel board, capacitor bank, cable tray, lightning arrestor, PABX, telephone distribution board. Interpret lay out and wiring diagram, Perform board wiring and brick wall wiring. Instal supporting assocessories (PVC conduit, metal box, distribution box, L.T. cable etc.) Perform wiring system and electrical safety test, Connect and control single & three phase motor system |

| S.N. | Objectives/Skill | Contents | Time Hours |
| --- | --- | --- | --- |
|  |  |  | T | Pr. | Total |
| 1. | Handle electrical tools and equipment. | Tools and equipment for Electrical installation Introduction Types Importance & use Safety | 3 | 11 | 14 |
| 2. | Select the electrical materials | Electrical materials Introduction Types Importance and use | 3 | 11 | 14 |
| 3. | Select the electrical accessories | Electrical accessories Introduction Types Importance & use | 3 | 11 | 14 |
| 4. | Select protective device. | Protective device Introduction Types Importance & use | 3 | 11 | 14 |
| 5. | Provide first aid services Perform simulation first aid to simulated electrocuted person | First aid Introduction Importance and application Process | 1 | 3 | 4 |

| 6. | Install electrical fitting | Electrical fitting Introduction Types Importance & use Process Safety | 5 | 20 | 25 |
| --- | --- | --- | --- | --- | --- |
| 7. | Interpret lay out and circuit diagram | Electrical diagram Introduction Types Importance and use | 1 | 4 | 5 |
| 8. | Perform joints . conduit wire and cable | Joint Introduction Types Importance and use Advantages | 3 | 11 | 14 |
| 9. | Perform board wiring. One way switching Two way switching Intermediate switching. Call bell circuit Go down circuit Power and light socket/light indicator Fuse and protective devices. | Wiring Introduction Types Controlling and protective devices Importance and use Process safety | 6 | 62 | 68 |
| 10 | Perform wiring on brick wall (surface and concealed) Install Main switch Install DB KWH meter Fan and fan regulator/dimmer corridor lighting Lay the pipe in concrete slab on building. | Wiring Introduction Types of wiring system Merits and demerits Importance and use Process Concept and importance of estimating and costing of installation Safety | 8 | 30 | 38 |
| 11 | Install supporting materials (surface and conceal) PVC conduit metal box distribution board cable tray | Supporting materials Introduction Types Importance and use Process safety | 6 | 24 | 30 |
| 12 | Perform Laying of L.T. cable. | LT cable Introduction Types Importance and use Process safety | 2 | 8 | 10 |
| 13 | Perform earthing and install lightning arrestor. | Earthing and lightning arrestor | 3 | 12 | 15 |

|  |  | Introduction Importance and application Types Process of earthing |  |  |  |
| --- | --- | --- | --- | --- | --- |
| 14 | Install PABX, telephone distribution board and tag. | PABX telephone distribution board and tag. Introduction Types Importance and application color code and tag termination method. Process safety | 2 | 20 | 22 |
| 15 | Connect single and three phase supply by using change over switch | Supply connection (single & three phase) Introduction Types Importance and application Process safety | 3 | 16 | 19 |
| 16 | Test electrical safety: Insulation test. Earth test Continuity test | Electrical safety test Introduction Types Importance and application Process safety | 2 | 8 | 10 |
| 17 | Operate isolating switch: MCB MCCB ACB | Isolating switches Introduction Types Importance and application Process safety | 2 | 8 | 10 |
| 18 | Perform circuit test. Open Close Short | Circuit test Introduction Types Importance and application Process safety | 2 | 4 | 6 |
| 19 | Identify energy conservation and perform solar home system installation | Solar home system Introduction Importance and application Components Process Safety | 4 | 15 | 19 |
|  |  | Total | 62 | 289 | 351 |

### Reference Books:

  - Electrical Wiring – Ramu subedi.

  - Viduit Bitaran – Sambhu Prasad Upadhya.

  - Fundamental of Electricity – Bbinod and Shreekrishna Panthi.

### Required tools and equipment

| Metal electrical tool box | Augur/barma |
| --- | --- |
| Allen key set | Measuring tape |
| Flat pliers | Cable cutter |
| Cable drawer | Chisel |
| Spanner set | Ttry square/bottom |
| Clamp on meter | Combinational pliers |
| Crimping tools | Cutting pliers |
| Earth resistance tester | Extension ladder (sliding type) |
| File different size/ models | Finishing towel (Ruksa) |
| Hand drill machine | Folding ladder |
| Screw driver set | Hammer |
| Marking scriber | Hand grinder |
| Hand hacksaw frame with blade | Level pipe |
| Nose pliers | Phase tester |
| Frequency meter | Pipe cutter |
| Megger | Pulling spring |
| Multi meter | Shovel |
| Ammeter(AC/DC) | Soldering lead, paste and flux |
| Voltmeter (AC/DC) | Sprit level |
| Ohm meter | Wire stripper/cable stripper |
| Phase tester | Whole saw cutter |
| Plumb bob | Soldering iron with stand |

### Materials list

| All types of one way switch | Bracket holder |
| --- | --- |
| Ceiling rose | Dimmer switch |
| Floating switch | Fluorescent lamp holder |
| Lamp holder | Lux switch/photo switch |
| Main switch | Pendent holder |
| Push bottom switches | Rotary switch |
| Screw type bulb holder | Socket outlet terminal |
| Starter holder | Surface tumbler switch |
| Timer. | Two way switch |
| MCB, MCCB, ACB, OCB, ELCB | Complete solar home system set 35 W |

## Repair and Maintenance

### Course nature: Practical	Class per Week:  7 hrs.

Full Marks:   170	Total hours: 273 hrs.

| Subject: 4: Repair & Maintenance |
| --- |
| Description: | This course provides skill and knowledge of domestic and commercial electrical appliances and equipment. The fundamental facts of preventive and post fault maintenance have been emphasized in this course.This course also provides skill and knowledge to repair and maintenance of single, three phase electrical motor, their rewinding, transformer and D.C. motor. |
| Objectives: | At the end of the course the participants will be able to: Repair and maintenance of domestic appliances. Repair and maintenance of Industrial machine and tools. Develop simple lay out and wiring diagram of different types of electric machine/equipment and appliances. Dissemble and assemble various types of electrical machine and equipment. Perform basic maintenance of transformer Perform single phase and three phase motor rewinding. Apply safety precautions for electrical repair and maintenance work. |

| S.N. | Skill | Contents | Time hrs |
| --- | --- | --- | --- |
|  |  |  | Th | Pr. | Total |
| 1. | Repair/maintenance electrical appliances and accessories (Immersion heater/rod, Iron, kettle and hot plate) | Concept of preventive and corrective maintenance Immersion heater, rod heater, Iron, Kettle, Hotplate, heating element Introduction Importance and use Working principle and function Process connection diagram Log book/ work report | 2 | 12 | 14 |
| 2. . | Repair/maintain Rice Cooker, oven, geyser. | Electrical Cooker, oven, Geyser, heating element Introduction Importance and use Working principle and function Process connection diagram Log book/ work report | 2 | 12 | 14 |
| 3. | Repair and maintain electrical toaster. | Electrical toaster Introduction Importance and use Working principle and | 1 | 6 | 7 |

|  |  | function Process connection diagram Log book/ work report |  |  |  |
| --- | --- | --- | --- | --- | --- |
| 4. | Repair and maintain fan heater/electrical hair dryer | Fan heater, Hair dryer Introduction Importance and use Working principle and function Process connection diagram Log book/ work report | 1 | 6 | 7 |
| 5. | Repair and maintain vacuum cleaner. | Vacuum cleaner Introduction Importance and use Working principle and function Process connection diagram Log book/ work report | 1 | 6 | 7 |
| 6. | Repair and maintain mixture/grinder. | Mixture/grinder Introduction Importance and use Working principle and function Process connection diagram Log book/ work report | 1 | 6 | 7 |
| 7. | Repair and maintain portable drill machine. | Drill machine Introduction Importance and use Working principle and function Process connection diagram Log book/ work report | 1 | 6 | 7 |
| 8. | Repair and maintain table fan, ceiling fan/exhaust fan. | Fan Introduction Types Importance and use Working principle and function Process connection diagram Log book/ work report | 1 | 6 | 7 |
| 9. | Repair and maintain Domestic/Commercial/ Industrial installation | Electrical Installation Introduction Importance and use Process | 4 | 17 | 21 |

|  |  | connection diagram Fault finding & remedies Log book/ work report |  |  |  |
| --- | --- | --- | --- | --- | --- |
| 10. | Repair and maintain AC single phase motor. | AC single phase motor Introduction Importance and use Process of repair and maintenance Process of dismantle and assemble Size/types connection diagram calculation of turns and size Rewinding and installing process of coil Log book/ work report | 4 | 38 | 42 |
| 11. | Repair and maintain AC three phase motor (Balance) | AC three phase motor (Balance) Introduction Importance and use Process of repair and maintenance Process of dismantle and assemble Size connection diagram calculation of turns and size Rewinding and installing process of coil Log book/ work report | 4 | 45 | 49 |
| 12. | Repair and maintain AC three phase motor (Unbalance) | AC three phase motor (Unbalance) Introduction Importance and use Process of repair and maintenance Process of dismantle and assemble Size connection diagram calculation of turns and size Rewinding and installing process of coil Log book/ work report | 4 | 45 | 49 |
| 13. | Repair and maintain Generator Set | Generator Introduction Importance and use Types of generator Process of maintenance | 2 | 19 | 21 |

|  |  | Trouble shooting |  |  |  |
| --- | --- | --- | --- | --- | --- |
| 14. | Repair and maintain single phase low voltage transformer. | Single phase low voltage transformer Introduction Parts/components Importance and use Process connection diagram calculation of turns and size Binding and installing process Log book/ work report | 2 | 12 | 14 |
| 15. | Repair and maintain Invertors, converters, solar panel, D.C. battery. | Invertors, converters, solar penal Introduction Importance and use Process connection diagram Log book/ work report | 2 | 5 | 7 |
|  |  | Total | 32 | 241 | 273 |

### Reference Books:

    - Electrical installation by Heinz Graff

    - Industrial Wiring by J.A. Faindery

### Required tools and equipment

| Adjustable wrench | Allen key set |
| --- | --- |
| Ammeter(AC/DC) | Cable knife |
| Combination pliers | Cutter pliers |
| File different size/ models | Flat pliers |
| Hammer | Hand hacksaw with blade |
| Line tester | mallet |
| Marking scriber | Measuring tape |
| Metal electric tool box set | Micro miter |
| Multi meter | Nose pliers (flat and round) |
| Ohm meter | Screw driver set (star and philips) |
| Slide wrench | Soldering iron with stand |
| Soldering lead | Soldering paste/flux |
| Standard wire gauge | Voltmeter (AC/DC) |
| Wire stripper |  |

### Safety Precaution:

    - Never use broken handle tools

    - Use always insulated tools

    - Beware of live wires.

## Engineering Drawing and Computer Application

### Course nature: Practical	Class per Week: 1+4

Full Marks:   130	Total hours: 195

| Subject 5: Engineering Drawing & Computer Application |
| --- |
| Description: | This course provides skill and knowledge on drawing instrument, standard drawing symbol, lettering, lines, scales, geometrical drawing, electric circuit diagram of domestic, commercial & Industrial installation This course also covers layout diagram & connection diagram of electrical appliance, machines service drop cable in transmission & distribution system using computer aided design. |
| Objectives: | At the end of the course the participants will be able to: Draw line, curve and plan of geometrical solids. Sketch freehand and three dimensional objects. Read, interpret Electrical symbols to use in different circuit diagram. Read, interpret and draw electrical connection diagram in transmission & distribution system. Draw the development diagram of single phase & three phase motors' component, equipment, & machines. Use Computer Aided Drafting (CAD) Software Use AUTOCAD as electrical drafting tool. Construct 2D Engineering Drawing using AUTOCAD. Annotate a drawing with Text, Dimensioning. Edit drawing using CAD Software |

| S.N. | Skill | Contents | Time hrs |
| --- | --- | --- | --- |
|  |  |  | Th. | Pr. | Total |
| Geometrical Engineering Drawing |
| 1. | Handle basic drawing tools/instruments | Drawing tools & instruments Introduction Types Importance and use. Handling techniques precautions | 2 | 2 | 4 |
| 2. | Prepare drawing sheet with title block. | Drawing sheets and title block Introduction Types and size Importance and use. Border lines | 1 | 2 | 3 |
| 3. | Draw free hand sketches. Straight lines (horizontal, vertical and inclined) Circles Arcs & curves | Free hand sketch Introduction Concept and importance of sketching Difference between sketch and drawing Handling techniques | 1 | 3 | 4 |

| 4. | Apply different scales (linear and non-linear) | Scale Introduction Types Importance and use Representative fraction | 1 | 2 | 3 |
| --- | --- | --- | --- | --- | --- |
| 5. | Draw different types of lines. | Lines Introduction Types Importance and use | 1 | 1 | 2 |
| 6. | Write lettering English | Lettering introduction Importance and use Types and size process. | 1 | 2 | 3 |
| 7. | Construct regular geometrical figure: Rectangle Square Triangle circle | Geometrical figures Introduction Drawing process | 1 | 2 | 3 |
| 8. | Construct regular polygons. Pentagon Hexagon Octagon | Regular polygon Introduction Process | 1 | 3 | 4 |
| 9. | Draw an ellipse | Ellipse Introduction Process Method | 1 | 2 | 3 |
| 10 | Perform the dimension the drawing objects. | Dimensioning Introduction Types Importance and use Process | 1 | 1 | 2 |
| 11 | Draw orthographic projection. First angle Third angle | Projection Introduction Types of projection Importance Difference between first and third angle projection Introduction, uses and types of sectional drawing Process | 3 | 13 | 16 |
| 12 | Draw isometric views. | Isometric projection Introduction Importance Process | 2 | 6 | 8 |

| Elctrical Engineering Drawing |
| --- |
| 13. | Draw electrical symbols | Electrical Symbols Introduction Importance and use Process | 1 | 2 | 3 |
| 14. | Draw the electrical diagram Lay out Wiring Connection | Electrical diagram Introduction Importance and use Process | 1 | 3 | 4 |
| 15. | Draw complete diagram of domestic, commercial building system with architechural building plan and cost calculation. | Building drawing Introduction Importance Material estimating and costing Process | 3 | 14 | 17 |
| 16. | Draw Motor control system diagram DOL Star/Delta Forward/reverse Two place | Motor control and power diagram. Introduction Importance and use Process | 2 | 20 | 22 |
| 17. | Draw winding diagram of different types motor and connection diagram of single phase motor. | winding diagram of motors and connection diagram of single phase motor. Introduction Types of motors Types of winding Types of layer Importance and use Name plate Parts of motor | 2 | 10 | 12 |
| 18. | Draw single line diagram of generation, transmission and distribution system. | Single line diagram of power supply system Introduction Types Importance and use Nepal Electrical authority (NEA) rule, regulation and standard. | 2 | 2 | 4 |
| Computer application and auto CAD |
| 19. | Familiarize with computer application | Computer application Introduction Process Operation MS Word MS Excel E-mail/ internet | 6 | 10 | 16 |

| 20. | Start up Computer Aided Drafting (CAD) software | Introduction Enlist different types of CAD software. System requirement for CAD Startup CAD from start menu Interpret CAD graphics window including screen layout, pull-down menus, screen icons, command line and dialogue boxes. Modify display Introduce and arrange toolbar Managing unit/limit Start, organize and save file | 1 | 1 | 2 |
| --- | --- | --- | --- | --- | --- |
| 21. | Set up a Drawing | Explain how to start drawing from scratch, using wizard and, using and creating a template file. Describe setting preferences (units, angle, direction, area) | 0.25 | 2 | 2.25 |
| 22. | Manage Toolbar | Standard tool bar Draw tool bar Modify toolbar Dimensioning tool bar Other | 0.25 | 0.5 | 0.75 |
| 23. | Draw lines | Different system Relative , Cartesian and absolute coordinate system. Start and end point of a line Different methods of drawing a line in CAD Options available in drawing line in CAD (Undo, Close) | 1.50 | 1.00 | 2.5 |
| 24. | Draw rectangle | Corner points (first and other) Options available in drawing rectangle (chamfer, fillet) Chamfer distance Fillet radius | 0.25 | 0.50 | 0.75 |
| 25. | Draw arc | Identify arc among various types of geometric shapes. Describe different options for drawing arc (3 points method, Start Center method, Start End method, Center Start method | 0.25 | 0.75 | 1 |
| 26. | Draw circle | Describe different options for drawing arc (Center Radius method, Center Diameter method, 2P method, 3P method, Tan, Tan Radius method, Tan, Tan, Tan method) | 0.25 | 0.50 | 0.75 |
| 27. | Draw polygon | Describe different options for drawing polygon (center, edge) | 0.25 | 0.50 | 0.75 |

| 28. | Manage lines | Line properties Line weight Line color Line loading | 0.25 | 0.50 | 0.75 |
| --- | --- | --- | --- | --- | --- |
| 29. | Draw an Isometric drawing | Concept Isometric snap and rectangular snap Setting of isometric snap | 0.50 | 1.00 | 1.5 |
| 30. | Draw Ellipse | Ellipse in rectangular snap Center Radius method Center Diameter method Ellipse in isometric snap | 0.50 | 0.75 | 1.25 |
| 31. | Relocate object using Move command | Different methods of selecting objects for editing such as window, crossing, fence, all … Base point Second point of displacement | 0.25 | 0.50 | 0.75 |
| 32. | Relocate object using rotate command | Define rotation angle Explain Reference Point. | 0.25 | 0.50 | 0.75 |
| 33. | Duplicate object using Copy command | Differentiate Multiple copy and Single copy. Explain the procedure for duplicating object using copy command. | 0.25 | 0.50 | 0.75 |
| 34. | Duplicate object using Mirror command | State the purpose of Mirror. Explain First point and Second point of mirror line Second point of mirror line Describe options available in mirror command | 0.25 | 1.00 | 1.25 |
| 35. | Duplicate object using Offset command | Describe options available for Offset distance Through | 0.25 | 1.00 | 1.25 |
| 36. | Duplicate object using Array command | Differentiate Rectangular Array and Polar Array Explain Rows, Columns ad Distance, Center point, number, angle and rotation | 0.25 | 1.00 | 1.25 |
| 37. | Modify object using Break command | Define break line Break the selected object between two points | 0.25 | 0.5 | 0.75 |
| 38. | Modify object using Explode command | Define explode Break a compounded object into its component object | 0.25 | 0.5 | 0.75 |

| 39. | Modify object using Trim command | Define Cutting edge Explain the options available for trimming object (project, edge, undo) | 0.25 | 0.50 | 0.75 |
| --- | --- | --- | --- | --- | --- |
| 40. | Modify object using Extend command | Define Boundary edge State the procedure for modifying object using Extend command. | 0.25 | 1.00 | 1.25 |
| 41. | Modify object using Fillet command | Differentiate Chamfer and Fillet. Explain the options available for filleting object i.e. fillet radius | 0.25 | 0.50 | 0.75 |
| 42. | Modify object using chamfer command | Explain the options available for chamfering object i.e. Distance, angle | 0.25 | 0.50 | 0.75 |
| 43. | Create a Layer | Define Layer. Explain different attributes and properties of a Layer (Line type, line weight, Global Scale Factor, Current Object Scale, Names, Of/Off, Freeze/Thaw, Lock/unlock, Color, Plot style, Plot/don’t plot) Explain the procedure for creating a layer. | 0.75 | 2.00 | 2.75 |
| 44. | Create text and text styles. | Differentiate Single line text [TEXT] and Multiline Text [MTEXT] Explain Style name, Font Name, Style and Height Describe Font effect, Width factor and Oblique angle Explain the procedure for creating text styles. | 0.50 | 1.00 | 1.5 |
| 45. | Edit text | Multiline Text Editor Character Properties Line spacing Find/replace, import text Layer and symbol | 0.25 | 1.00 | 1.25 |
| 46. | Hatch the sectional area | Define hatching. Differentiate ISO Hatch Pattern, User Defined Hatch Pattern, Pre- Defined Hatch and Associative Hatch Explain Boundary set, copying of hatch properties, pick point, hatch angle, scale, pattern, and object selection. modify the hatched pattern | 0.50 | 2.00 | 2.5 |

| 47. | Create Block | Definition Name Pick point selection | 0.25 | 1.00 | 1.25 |
| --- | --- | --- | --- | --- | --- |
| 48. | Add dimensions to a drawing | Interpret dimension elements (dimension text, lines and arrowheads, leader, extension lines, units, tolerance and center marks) Describe dimension types (linear, aligned, ordinate, radius, diameter, angular, baseline and continue) Dimension dialog box Lines and arrow Dimension and text Fit Unit Tolerances Modify Dimension style Dimension in isometric drawing | 0.50 | 1.00 | 1.5 |
| 49. | Configure Plotters/Printers | Define Plotter Manager Explain Plot Style Manager State the Printer/Plotter Installation process | 0.5 | 1.0 | 1.5 |
| 50. | Plot drawing | Explain paper size and paper units, drawing orientation, plot area and plot scale, plot offset. Describe the procedure for printing a drawing. | 0.5 | 1.0 | 1.5 |
| 51. | Prepare the following drawings and submit (e-copy and hard copy both) using CAD software. ( Project Work) Draw Isometric/ Oblique drawing Draw Orthographic drawing Dimensioning in Orthographic and Isometric drawing. Create Electrical Symbol. Layout and wiring diagram. Civil /Architectural/Electrical plan Motor control system. | 0 | 23.0 | 23 |
|  | Total | 44 | 190 | 195 |

### References Books:

- Electrical Engineering Drawing -  Gupta

- Electrical Estimating and Costing  - A K Shawney

- Electric Circuit Diagram	-GTZ Handout

- Motor Rewinding	- Rosenberg

- Electro Westernman table

- Engineering Drawing – N.D. Bhatta

- Engineering Drawing	- W. J Lujadhar

# cfwf/e't sDKo'6/ kl/ro efu !, @ / # – sdn e§/fO{

- Kognet learning solution, Simple steps in AutoCAD, Dream tech press, India

- George Omura, Mastering AutoCAD 2013 and AutoCAD LT 2013,India

### Required Tools and Instrument

|  | Auto CAD software |
| --- | --- |
| Compass | Computer |
| Drawing Board | Drawing sheet |
| Drawing sheet/paper | Eraser |
| Pencil | Protector |
| Rotary Pen (set) etc | Ruler |
| Set square | T square |
| Tape |  |

Electro-Technology

### Course nature: Theory	Class per Week: 4

Full Marks:   100	Total hours: 156

| Subject 6: Electro-technology |
| --- |
| Description: | This subject provides to equip selected general SLC graduates with Electro-Technology knowledge required for performing electrical installation of domestic, commercial and industrial complexes. |
| Objectives: | At the end of the course the participants will be able to: Apply personal, equipment, machine, tools and workplace safety including electrical rules. Identify tools, equipment, machines, materials used in electrical system Apply the standard terms and terminologies used by electricians. Explain SI definitions, constitution of matter, and fundamental laws of electricity and electromagnetism. Explain the basic concept and utilization of power generation, transmission and distribution Explain, define and solve problems in D.C. and A.C. single and three phase circuits. Explain and apply the principles of operation, function and construction of electrical machines. Explain and apply electrical measuring instrument and measurement. Explain and apply switchgear,control and protection devices |

| S.N. | Skills | Contents | Time hrs. |
| --- | --- | --- | --- |
| 1. | Apply electricity rules and regulations | Electricity rules and regulation Concept of electrical energy development in Nepal Rules for – consumer, standard voltage for distribution Concept of NEA code of practice | 2 |
| 2. | Explain: Modern theory of electron Structure of Atom | Constitution of matter Concept of modern electron theory: Matter, Molecule, Atom, Protons, Neutrons, Electrons Structure of Atom | 3 |
| 3. | Explain advantages and application of A.C. and D.C. | Fundamental SI definitions Introduction Importance and Application Advantges and disadvantages | 6 |
|  | Define : EMF and P.D. Current, voltage, resistance and power Cells and battery | Current, Voltage and Resistance and their measuring units Cells and batteries EMF and potential difference |  |

| 4. | Explain : Law of conservation of energy Ohm's law Kirchhoff's law and their application Laws of resistance Specific resistance Effect of temperature on resistance Connection of cells and battery | Laws of electricity Law of conservation of energy Ohm's law Kirchhoff's laws Laws of resistance Specific resistance Effect of temperature on resistance, temperature co-efficient of resistance Connection of cells and battery Effects of electric current | 20 |
| --- | --- | --- | --- |
| 5. | Explain Conductor and insulator Metal and non-metal Ferrous/non ferrous metal | Engineering materials Introduction Types Importance and use Properties | 8 |
| 6. | Explain and compare : Resistances in series and parallel Relation of voltage, current, resistance, and power in series and parallel circuits | Electrical circuits Introduction Types Importance and use Comparison Relation of voltage, current, resistance, and power in series and parallel circuits | 12 |
| 7. | Explain work, energy and power in electric circuit and their measuring units | Work, power and Energy Introduction Types Importance and use Measuring units in M.K.S. and F.P.S. system | 4 |
| 8. | Explain the importance of magnetism in electricity Define magnetic terms and their measuring units | Magnetism Electromagnetism Importance of magnetism in electricity Magnetism terms- magnetic poles, magnetic axis, magnetic field, magnetic lines of force, magnetic flux, magnetic field strength, magnetic force (MMF) magnetic field intensity, reluctance, permeability Properties of lines of force Dimagnetic,Paramagnetic, Ferromagnetic materials | 16 |

|  | Explain electromagnetism and its laws Explain magnetic losses | Advantages of electro-magnetism Laws of electromagnetism Faraday's law of electromagnetic induction Comparison between electric circuit and magnetic circuit Self and mutual inductance Eddy current and Hysteresis loss |  |
| --- | --- | --- | --- |
| 9. | Define: Period, Cycle or frequency Amplitude, Peak Instantaneous and R.M.S. values Form factor, in phase, out of phase Inductance and inductive reactance Capacitance and capacitive reactance | AC definition and circuit Comparison between A.C. and D.C. Definition of : Period Cycle or frequency Amplitude Peak Instantaneous and R.M.S. values, Form factor, peak factor in phase, out of phase Inductance and inductive reactance Capacitance and capacitive reactance, | 20 |
|  | Explain and solve simple A.C. circuits Poly phase A.C. | Condensers in series and parallel Impedance Addition of vectors Pure resistive, inductive and capacitive circuit in A.C Impedance triangle and power factor Cause of low power factor in industrial areas and its improvement Single and three phase circuits |  |
| 10. | Explain the basic concept of energy sources and power generation in Nepal | Generation, transmission, distribution and Utilization of Electrical power Sources of electrical Energy in Nepal: Production of power sources: Solar and wind power station Hydroelectric power station Diesel and thermal power station etc. Power development of Nepal Total Power Generation of Nepal | 20 |
|  | Describe basic concept in sub- station and sub-station equipment | Concept of sub-station: Sub-station equipment Circuit breakers Isolators Bus-bars Lightning arrestors Types of sub-station |  |

|  |  | Pole type sub station Out door sub station Indoor sub station Switchgear,control and protection devices |  |
| --- | --- | --- | --- |
|  | Explain transmission system | Importance of transmission system Concept of tower, pole, hard ware and Insulators Advantages of H.V. Transmission |  |
|  | Describe distribution system and service connection | Methods of power distribution Comparison between overhead line and Underground cable Domestic service connection and its components (feeder, distributor, service mains) Poles, insulaters, stay set and other accessories Voltage ranges Conductor spacing and sag |  |
|  | Explain utilization of electric power Explain illumination and its units Control and protection | Utilization of electrical energy Agricultural sector Industrial sector Domestic sector Commercial sector Transportation sector Concept of illumination Luminous flux, intensity Candle power and solid angle Concept of energy efficiency Relays Lighting arrestor System earthing Equipment earthing |  |
| 11. | Electrical Machines Define and explain the basic construction and working of electrical machines | Definition, Basic construction, working principles and types of : D.C. generator and its types Alternator Transformer EMF equation of transformer Transformer ratio Transformer tests and losses Parallel operation of alternator and transformer D.C and A.C. Motors (Definition, Basic construction, working principles) Single phase Three phase motors Split phase motor | 25 |

|  |  | Synchronous motors Capacitor start induction motor Capacitor start capacitor run motors Universal and sheded pole motors Permanent capacitor motors Principle of induction motor Torque formula Motor speed and sleep |  |
| --- | --- | --- | --- |
| 12. | Explain and apply electrical measuring instrument and measurement | Electrical measuring instruments Concept of measuring units of electrical quantities Types of measuring Instrument Basic Construction of measuring instruments on the basis of: Working principles Construction Measurement Basic Concept of different torques Construction and working principles of: Megger Earth tester Single and Three phase Energy meter Watt meters Power factor meter Frequency meter Synchroscope Lux meter Increasing range of measuring instruments Concept and use of C.T. and P.T. Measurement of specific gravity of electrolyte in battery | 20 |
|  |  | Total | 156 |

### References Books:

- Basic Electrical Engineering - M.L.Anwani

- Text Book of Electrical Engineering – B. L. Theraja

- Installation Servicing and Maintenance – S.N.Bhattacharya

- Generation, transmission and utilization of electrical power – A. T. Star

- Generation, transmission and utilization of electrical power – A. K. Showny

- Basic electrical engineering volume I and II – P.S. Dhogal

- NEA Rules and Standards

- Skill Standards for Building and Industrial Electrician Level 1, 2 & 3– NSTB, CTEVT

### Required Materials

- Board Markers

- Paper Markers

- Charts

- Demonstration kit

- Graphs

- Ovehead projectors

- Photographic visuals etc.

## Motor Installation and Control System

### Course nature: Practical	Class per Week: 5 hrs.

Full Marks:	130	Total Class: 195 hrs.

| Subject 7: Motor Installation and Control System |
| --- |
| Description: | This subject provides skill and knowledge related to motor installation and control system of single and three phase electrical system. |
| Objectives: | At the end of the course the participants will be able to: Interpret connection diagram of three phase induction motors. Connect three phase induction motors with various control and protection arrangements. Connect and start three phase induction motor using PLC |

| S.N. | Skill | Related Technical Knowledge | Time Hours |
| --- | --- | --- | --- |
|  |  |  | Th. | Pr. | Total |
| 1. | Install DOL starter to control induction motor. | 3-Phase starter/single phase (Relay,contractor,switch,multi-meter and MCB) ●Introduction ●Types ●Importance and uses ●Function Advantages and limitations Procedure Control and power circuit diagram Log Book/work report | 3 | 14 | 17 |
| 2. | Install forward/reverse starter to control 3 phase induction motor (two direction motor. | 3-Phase starter (forward/reverse) Introduction ●Types ●Importance and uses ●Function Advantages and limitations Procedure Control and power circuit diagram Log Book/work report | 4 | 21 | 25 |
| 3. | Install star/delta starter (manual) to control 3 phase induction motor. | 3-Phase starter (star/delta) Introduction ●Types ●Importance and uses ●Function Advantages and limitations ●Procedure Control and power circuit diagram Log Book/work report | 4 | 22 | 26 |
| 4. | Install star/delta starter (semi-auto) to control 3 phase induction motor. | Star/delta semi- automatic Introduction ●Types | 4 | 22 | 26 |

|  |  | ●Importance and uses ●Function Advantages and limitations Procedure Control and power circuit diagram Log Book/work report |  |  |  |
| --- | --- | --- | --- | --- | --- |
| 5. | Install star/delta starter (automatic) to control 3 phase induction motor. | Star/delta automatic Introduction ●Types ●Importance and uses ●Function Advantages ●Procedure Control and power circuit diagram Log book/work report | 4 | 21 | 25 |
| 6. | Install slip ring starter to control slip ring motor. | 3-Phase starter slip ring motor (Compact) Introduction ●Types ●Importance and uses ●Function Advantages and limitations ●● Procedure Control and power circuit diagram Log book/work report | 2 | 14 | 16 |
| 7. | Install PLC starter for 3 phase induction motor control (DOL starter) | 3 phase starter ( PLC, Relay, Contractor, switch) Introduction ●Types ●Importance and uses ●Function Advantages and limitations Procedure Control and power circuit diagram Log book/work report | 4 | 17 | 21 |
|  |  | Total | 25 | 131 | 156 |

### Reference Books:

  - Basic Electrical Engineering- A.L Anwani

  - Basic Electrical Engineering- M.L Anwani

  - Basic Electrical Engineering- P.S. Dhogal

### Required Tools and Equipment

| Ammeter | Cable Drum (Extension Cord) |
| --- | --- |
| Clamp on Meter | Combination Plier |
| Crimping tools | DC Shunt Motor |
| Electrical Knife | Frequency Meter |
| Hammer | Long Nose Plier |
| Marking Scriber | Measuring Tape |
| Meggar meter | Phase Tester |
| Programmable Logic Control (PLC) | Portable drill Machine |
| Safety Gloves | Screw Driver set |
| Side cutter | Single Phase Induction Motor |
| Slide wrench | Slip ring Induction motor |
| Tacho meter | Three Phase Induction Motor |
| Voltmeter | Wire Striper |

### Required Materials

| Bi metal relay | Cable Shoe |
| --- | --- |
| Cable Tie | Cartridge fuse |
| Connector | Contactor |
| DOL Starter | ELCB |
| Flexible Wire | Indicator |
| Nut bolts | PVC Insulated Wire |
| Screws | Selector Switches |
| SP MCB | Time Relay Switch |
| TP MCB |  |

## Power Distribution System

### Course nature: Practical	Class per Week: 2 hrs.

Full Marks:   50	Total Class: 78 hrs.

| Subject 8: Power Distribution System |
| --- |
| Description: | This subject provides skill and knowledge related to the overhead primary distribution line 11KV and secondary distribution line 400/230V, construction of the distribution system and service connection to the customers. |
| Objectives: | At the end of the course the participants will be able to: Apply safety rules, tools and equipment. Follow NEA distribution rules and regulations. Follow 11KV & 400/230V overhead line construction standards of NEA. Familiarize with11 KV and 400V/230V distribution System. Select proper ACSR conductors & ABC cables. Familiarize with pole erection String ACSR conductors on 11KV and 400/230V poles. Install fitting accessories of ABC Cable & ACSR conductors. Install Stay on poles of 11 KV and 400/230 V lines. Install earthing on pole mounted transformers. Demonstrate 11 KV primary and 400/230V secondary distribution lines, Pole mounted transformers. Connect service line to the consumers. |

| S.N. | Skills | Contents | Time hrs. |
| --- | --- | --- | --- |
|  |  |  | Th. | Pr. | Total |
| Unit 1. | Overhead Line Construction |  |  |  |
| 1. | Interpret occupational documentation. | Electrical drawing symbols and legends Drawings, specifications and standards NEA distribution rules & regulations and 11 KV and 400/230 V overhead line construction standards. | 1 | 2 | 3 |
| 2. | Draw the single line diagram of distribution lines. | Electrical drawing standards Symbols and legends Process Single line diagram of 11 KV feeders & 400/230 distribution lines NEA distribution rules & regulations NEA 11 KV and 400V/230V overhead line construction standards. | 1 | 4 | 5 |

| 3. | Perform route clearance. | Route clearance Importance Tool & equipment for clearing routes Process Safety | 1 | 2 | 3 |
| --- | --- | --- | --- | --- | --- |
| 4. | Install Guy wire on 11 KV & 400V/230V pole | Guy wire installation Introduction Types and size of guy wire Use of guy wire on 11 KV Fitting accessories Tools used Process Safety | 1 | 4 | 5 |
| 5. | String the Aluminum conductors steel Reinforced (ACSR) 11 KV & 400V/230V. | ACSR conductors Introduction Types and size Current caring capacity Commercial names Advantages and disadvantages Fitting accessories Tools used Process Safety | 1 | 4 | 5 |
| 6. | String the Aerial Bundle Conductors (ABC) cable (11 KV & 400V/230V) | Aerial Bundle Conductors (ABC) cable Introduction Size Importance and use Single and double suspension clamp of proper sizes Anchor clamp Fitting accessories Tools used Process Safety | 1 | 4 | 5 |
| 7. | Introduce and Demonstrate pole mounted distribution transformer | Transformer connection Introduction Size and capacity Use Process Protective devices (D.O. fuse) Gang operating switch Lighting arrester Channels of proper sizes MCCB of proper capacity on the LT line of the transformer Four core cable of proper for connection from LT side of the | 2 | 6 | 8 |

|  |  | transformer to the MCCB Safety |  |  |  |
| --- | --- | --- | --- | --- | --- |
| 8. | Install earthing on the pole mounted transformer | Earthing Introduction Type Importance and use Earthing materials Measurement of earth Process resistance | 1 | 6 | 7 |
| 9. | Repair and maintain overhead line 380 V/11KV | Repair and Maintenance of Overhead line 380 V/11KV Introduction Type Importance Testing and commissioning Process | 2 | 10 | 12 |
| Unit 2 | Overhead Line Construction 400/230V |  |  |  |
| 10. | Install/binding(pin, scale, disk insulator) D-iron and Shackle insulators on poles | D-iron and shackle insulators Introduction Types Use Fitting accessories Tools used Process Safety | 2 | 12 | 14 |
| Unit 3 | Underground cables |  |  |  |  |
| 11. | Perform cable joint Lay underground cable | Cable joint Introduction Types Importance and use Components of cable joints Cable joint material for overhead cable joint (Reychem) Cable jointing materials for underground (straight through joint) Process Application Use of trench Process of trench | 2 | 4 | 6 |

| Unit 4. | Consumers’ Service Line Construction 400/230Volts. |  |  |  |
| --- | --- | --- | --- | --- |
| 12. | Install & connect single phase and three phase consumers’ service lines as per NEA’s distribution rules and standards | Introduction Types, sizes Consumer service lines Concentric cables Importance and use Process Wall bracket Shackle insulator NEA distribution rules & regulations Insulated connector for connection of concentric cable on ABC cable Safety | 1 | 4 | 5 |
|  |  | Total | 16 | 62 | 78 |

### Reference Books:

- NEA distribution rules and regulations

- 11 KV and 400/230 V construction standard of  NEA

- Transmission and Distribution – Raina

### Required Tools & Equipment:

| Insulated Tools | Long rubber gloves |
| --- | --- |
| Helmet | Rubber shoes |
| Safety belt | Normal Sun glass |
| Wooden or fiber laffer | Insulatd cross spanner |
| Mechanical dynometer | Shrink on end cap |
| come along clamp for ABC cable | Cable tensioner |
| Mounting wedge | Sabel |
| Earth Tester | Pik |
| Come along clamp for ACSR conductor | Other tools & equipment as per need |

## Basic Electronics

### Course nature: Practical	Class per Week: 3 hrs.

Full Marks: 80	Total class: 117 hrs.

| Subject 9 : Basic Electronics |
| --- |
| Description: | This subject provides skill and knowledge related to basic electronics. This consists of simple electronics projects, simple design and general concept of digital electronics. It also covers electronics components used in electronics circuits. |
| Objectives: | At the end of the course the participants will be able to: Describe various electronics components. Interpret their characteristics and applications. Calculate the value of electronics components. Test electronics components. Design electronic circuits using diodes. Construct voltage regulator with transistor and zener diode. Construct NOT, AND, OR, NAND, NOR Logic gate in IC. Apply safety precaution during electronics works. |

| S.N. | Skills | Contents | Time Hours |
| --- | --- | --- | --- |
|  |  |  | Th. | Pr. | Total |
| 1. | Calculate and check the value of fixed and variable resistor. | Calculate the value of Resistor (Multi-meter and color code) Introduction Purpose Importance and uses Types Function Setting procedure Advantage Log book/ Work report | 2 | 12 | 14 |
| 2. | Check the value of capacit | Capacitor Introduction Importance and uses Types Advantage Procedure | 2 | 8 | 10 |
| 3. | Check the value of Inducto | Inductor Introduction Importance and uses Types Advantage Procedure | 2 | 8 | 10 |
| 4. | Measure voltage and current in series and parallel circuit. | Series and Parallel circuits Introduction Importance and uses Connection procedure | 2 | 12 | 14 |

| 5. | Perform silicon/germaniu diode characteristic. | m Semiconductor diode Introduction Importance and uses Types Function Biases Introduction Importance and uses Types Advantage Connection DC power supply, V/I curve Introduction Importance and uses Connection | 2 | 8 | 10 |
| --- | --- | --- | --- | --- | --- |
| 6. | Caracterize Zener diode. | Zener Diode Introduction Uses/application Function Advantage V/I curve Introduction Importance and uses | 2 | 5 | 7 |
| 7. | Perform bridge rectifier circuits. | Rectifier Circuits Introduction Importance and uses Types Function Connection Advantage Procedure Transformer (6-0-6), oscilloscope Introduction Uses Types Connection Procedure | 2 | 8 | 10 |
| 8. | Perform transistor biasing plot and its characteristics. | Transistor, biasing, data, amplification switching Introduction Uses/application Types Function Advantage Connection Procedure | 4 | 10 | 14 |

| 9. | Construction voltage regulators with transistor and zener diode. | Soldering Iron, Lead, PCB plate/matrix board, FeCl3 Introduction Importance and uses Function Advantage Procedure | 2 | 12 | 14 |
| --- | --- | --- | --- | --- | --- |
| 10. | Perform NOT, OR, AND, NAND, NOR, Logic gate in IC | Logic Gate ICs Introduction Importance and uses Types Function Circuit diagram Advantage Procedure DC supply to the gate, bread board Introduction Uses Advantage Importance | 2 | 12 | 14 |
|  |  | Total | 22 | 95 | 117 |

### Reference Books:

  - Principle of Electronics- V.K. Meheta

  - Saral Basic Electronics- Hari Bahadur Paudel

  - Four in one practical books- Ram Chandra Tiwari

  - Digital Fundamental- Floyed

### Required tools and equipment

| Analogue multimeter | Combination Plier |
| --- | --- |
| Crimping Tools | DC Ammeter |
| DC power supply | DC Voltmeter |
| Digital IC Trainer | Digital multimeter |
| Di-soldering Pump | Function Generator |
| Jewelry screw driver set | LCR Meter |
| Line Tester | Nose Plier |
| Oscilloscope | Portable drill machineScrew Driver |
| Side Cutter | Small dusting brush |
| Soldering Iron | Step Down Transformer |
| Wire striper |  |

### Materials List

| AC Cord | Bread Board |
| --- | --- |
| Color coded Wires | Connection Wires |
| Desoldering wire | Digital IC |
| Extension Cord | Fixed Inductor |
| Fixed Resistor | Jumper |
| Non Polar Capacitor | NPN Transistor |
| PCB Plate | PNP Transistor |
| Polar Capacitor | Rectifier Diode |
| Soldering lead, flux | Soldering stand |
| Tweezers | Variable Capacitor |
| Variable Inductor | Variable Resistor |
| Zener Diode |  |

## Entrepreneurship Development

### Program: Electrical Engineering Subject: Entrepreneurship Development

Course description

Total: 78 hrs

Class/week: 2

This course is designed to impart the knowledge and skills on formulating business plan and managing small business in general. This course intends to deal with exploring, acquiring and developing enterprising competencies, identification of suitable business idea and developing of business plan.

### Course objectives

After completion of this course students will be able to:

- Define business and entrepreneurship

- Explore entrepreneurial competencies

- Analyze business ideas and viability

- Formulate business plan

- Learn to manage small business

| S.No. | Skills | Contents | Time (hrs) |
| --- | --- | --- | --- |
|  |  |  | T | P | Tot |
| Unit 1: Introduction to Entrepreneurship | 5.75 | 4.08 | 9.83 |
| 1 | Introduce business | Introduction of business: Definition of business/enterprise Types of business Classification of business Overview of MSMEs(Micro, Small and Medium Enterprises) in Nepal | 1.5 |  | 1.5 |
| 2 | Define entrepreneur/entrepreneur ship | Definition of entrepreneur: Definition of entrepreneur. Definition of entrepreneurship. Entrepreneurship development process. | 0.5 | 0.5 | 1.0 |
| 3 | Describe entrepreneur’s characteristics | Entrepreneur’s characteristics: Characteristics of entrepreneurs. Nature of entrepreneurs. | 0.67 | 0.83 | 1.5 |

| 4 | Assess entrepreneur’s characteristics | Assessment of entrepreneur’s characteristics: List of human characteristics Assessment of entrepreneurial characteristics | 0.5 | 1.0 | 1.5 |
| --- | --- | --- | --- | --- | --- |
| 5 | Compare entrepreneur with other occupations | Entrepreneur and other occupations: Comparison of entrepreneur with other occupations Types and styles of entrepreneurs | 1.0 |  | 1.0 |
| 6 | Differentiate between entrepreneur and employee | Entrepreneur and employee: Difference between entrepreneur and employee Benefit of doing own business | 0.5 | 0.5 | 1.0 |
| 7 | Assess “Self” | “Self” assessment: Understanding “self” Self disclosure and feedback taking | 0.6 | 0.4 | 1.0 |
| 8 | Entrepreneurial personality test: Assess “Self” inclination to business | Entrepreneurial personality test: Concept of entrepreneurial personality test Assessing self entrepreneurial inclination | 0.67 | 0.83 | 1.5 |
| Unit 2: Creativity and Assessment | 6.5 | 4.0 | 10.5 |
| 9 | Create viable business idea | Creativity: Concept of creativity Barriers to creative thinking | 1.67 | 0.33 | 2.0 |
| 10 | Innovate business idea | Innovation: Concept of innovation SCAMPER Method of innovation | 0.83 | 0.67 | 1.5 |
| 11 | Transfer ideas into action | Transformation of idea into action: Concept of transferring idea into action Self assessment of creative style | 1.0 | 0.5 | 1.5 |
| 12 | Assess personal entrepreneurial competencies | Personal entrepreneurial competencies: Concept of entrepreneurial competencies Assessing personal entrepreneurial competencies | 0.5 | 1.0 | 1.5 |
| 13 | Assess personal risk taking attitude | Risk taking attitude: Concept of risk | 1.5 | 1.0 | 2.5 |

|  |  | Personal risk taking attitude Do and don’t do while taking risk |  |  |  |
| --- | --- | --- | --- | --- | --- |
| 14 | Make decision | Decision making: Concept of decision making Personal decision making attitude Do and don’t do while making decision | 1.0 | 0.5 | 1.5 |
| Unit 3:Identification and Selection of Viable Business Ideas | 0.83 | 3.42 | 4.25 |
| 15 | Identify/ select potential business idea Analyze strength, Weakness, Opportunity and Threat (SWOT) of business idea | Identification and selection of potential business: Sources of business ideas Points to be considered while selecting business idea Business selection process Potential business selection among different businesses Strength, Weakness, Opportunity and Threats (SWOT) analysis of business idea Selection of viable business idea matching to “self” | 0.83 | 3.42 | 4.25 |
| Unit 4: Business Plan |  | 16.67 | 36.58 | 53.25 |
| 16 | Assess market and marketing | Market and marketing: Concept of market and marketing Marketing and selling Market forces 4 Ps of marketing Marketing strategies | 1.33 | 0.75 | 2.08 |
| 17 | Business exercise: Explore small business management concept | Business exercise: Business exercise rules Concept of small business management Elements of business management Planning Organizing Executing Controlling | 1.58 | 1.67 | 3.25 |
| 18 | Prepare market plan | Business plan/Market plan Concept of business plan Concept of market plan Steps of market plan | 2.0 | 2.0 | 4.0 |
| 19 | Prepare production plan | Business plan/Production plan: Concept of production plan | 1.25 | 1.5 | 2.75 |